## Slide 1: Applications of AI in the field of Metabolomics
Dr Vinny Davies
Lecturer in Statistics, School of Mathematics & Statistics, University of Glasgow, Scotland, UK

## Slide 2: Education & Career
B.Sc. Mathematics & M.Sc. Statistics, Lancaster University, UK
Ph.D. in Statistics, University of Glasgow, UK
Postdocs in Statistics, University of Glasgow & University of Leeds, UK
Postdoc in Computing Science, University of Glasgow, UK
Lecturer in Statistics, University of Glasgow

## Slide 3: Expertise
My work aims to combine methods from Statistics, Machine Learning and AI to help with real world applications
A lot of my recent work has looked at using Digital Twins (computer simulators) for inference, development, and planning
My interest in Metabolomics comes from my postdoc, and my interest in using Statistics / ML / AI to tackle real world problems

## Slide 4: Today’s Talk
Going to discuss what AI is, and how it relates to Statistics and Machine Learning
Discuss what is needed for AI to be utilised effectively and what the dangers of AI are
Look at how AI is/could be used in a LC-MS/MS data analysis pipeline
Speculate on how AI and Large Language Models (e.g. ChatGPT) might be useful in the future

## Slide 5: What do we mean by AI?
This seems like a simple question, but what is AI?

## Slide 6: What do we mean by AI?
This seems like a simple question, but what is AI?
Is this AI?

## Slide 7: What do we mean by AI?
This seems like a simple question, but what is AI?
AI can be a lot of things, but the main thing we think of is Neural Networks

## Slide 8: What is a Neural Network?
Neural Networks were originally designed to mimic neurons in the human brain

## Slide 9: What is a Neural Network?
Neural Networks were originally designed to mimic neurons in the human brain
“My CPU is a neural-net processor; a learning computer. The more contact I have with humans, the more I learn”

## Slide 10: What is a Neural Network?
Neural Networks were originally designed to mimic neurons in the human brain
Neural Networks can be simple or unimaginably big
They come in lots of different formats, but the concept is the same

## Slide 11: What is a Neural Network?
Essentially Neural Networks are a load of linear regression models stuck together
Like other regression models we have input data (X) and output data (y), although they is much more flexible

## Slide 12: What is a Neural Network?
Essentially Neural Networks are a load of linear regression models stuck together
Like other regression models we have input data (X) and output data (y), although they is much more flexible
Input Data

## Slide 13: What is a Neural Network?
Essentially Neural Networks are a load of linear regression models stuck together
Like other regression models we have input data (X) and output data (y), although they is much more flexible
Output Data

## Slide 14: What is a Neural Network?
Essentially Neural Networks are a load of linear regression models stuck together
Like other regression models we have input data (X) and output data (y), although they is much more flexible
Hidden Layers
(not collected data)

## Slide 15: What is a Neural Network?
Essentially Neural Networks are a load of linear regression models stuck together
Like other regression models we have input data (X) and output data (y), although they is much more flexible
Regression model 1,
Layer 1

## Slide 16: What is a Neural Network?
Essentially Neural Networks are a load of linear regression models stuck together
Like other regression models we have input data (X) and output data (y), although they is much more flexible
Regression model 2,
Layer 1

## Slide 17: What is a Neural Network?
Essentially Neural Networks are a load of linear regression models stuck together
Like other regression models we have input data (X) and output data (y), although they is much more flexible
Regression model 1,
Layer 2

## Slide 18: What is a Neural Network?
Essentially Neural Networks are a load of linear regression models stuck together
Like other regression models we have input data (X) and output data (y), although they is much more flexible
Regression model,
Output Layer

## Slide 19: What is a Neural Network?
Neural Networks were originally proposed in 1943 by a neuroscientist and a logician
So why have they become so popular in the last 10-20 years?
“My CPU is a neural-net processor; a learning computer. The more contact I have with humans, the more I learn”
This quote comes from Terminator 2 which was released in 1991 (the original was 1984)

## Slide 20: What is a Neural Network?
Neural Networks were originally proposed in 1943 by a neuroscientist and a logician
So why have they become so popular in the last 10-20 years?
Backpropagation, Auto-differentiation, Increase in computational resources (GPUs)

## Slide 21: What is a Neural Network?
Why else are we interested in Neural Networks? – They are very flexible

## Slide 22: What is a Neural Network?
Why else are we interested in Neural Networks? – They are very flexible

## Slide 23: What is a Neural Network?
Why else are we interested in Neural Networks? – They are very flexible

## Slide 24: What is ChatGPT?
Let’s ask the expert…

## Slide 25: What is ChatGPT?
A bit beyond us today…
1. Modern Deep Learning
2. Understanding sentence structure
3. Trained in advance
4. Retrainable without starting from the beginning (transfer learning)

## Slide 26
ChatGPT uses text and images as data (instead of metabolite intensities for instance)
For text it learns to predict the next word in a sentence, essentially learning both how to answer questions and also how to construct sentences
Is it intelligent? Yes, but more no
What is ChatGPT?
Transformer architecture

## Slide 27: What is ChatGPT?
How do we know anything that ChatGPT says is true?

## Slide 28: What is ChatGPT?
How do we know anything that ChatGPT says is true? Well, we don’t
Things to be careful of
People pleasing
Fake references
Language quirks
Check the code
Fact check it
Learn what its good and bad at

## Slide 29: Why AI isn’t always good
There can be massive unintended consequences from using AI without understanding it or thinking it through – Example: Amazon’s CV quality detector
BBC Article

## Slide 30: Why AI isn’t always good
Why did the CV detector become sexist?
Amazon used previously collected CVs and previous hiring decisions to fit a model
Sounds sensible, what’s the problem?

## Slide 31: Why AI isn’t always good
Why did the CV detector become sexist?
Amazon used previously collected CVs and previous hiring decisions to fit a model
Sounds sensible, what’s the problem?
Previous hiring decisions were based on sexism
So the neural network learnt (incorrectly) that men are better than women…
Even without genders written on CVs, the neural net predicted the gender based on the content/style

## Slide 32: Why AI isn’t always good
More generally, why can AI lead to unintended consequences?
AI models are (generally) black box method, they are nearly impossible to interpret
They only aim to find the optimal solution; they don’t have encoded morals or understanding

## Slide 33: The importance of causality
Its important to understand causality
Can you experiment actually show what you want?
Is your experiment undertaken under representative conditions?
Are you observing the cause or the outcome?
almost definitely

## Slide 34: The importance of causality
What causes what?
Does eating caviar cause you to become a millionaire?
Huitfeldt (2016)

## Slide 35: The importance of causality
What causes what?
Does your metabolomics biomarker really cause the disease?
Or is the change a result of your disease?
AI can’t fix bad or incomplete data (neither can a random forest)

## Slide 36: The importance of causality
Does your metabolomics biomarker indicate presence of disease or that you are more likely to get it in the future?
Biomarker 1 (Case)
Biomarker Measurement
Time
No disease
Early-stage disease
Late-stage disease
Biomarker 2 (Case)
Biomarker 1 (Control)
Biomarker 2 (Control)

## Slide 37: The importance of causality
Biomarker 1 – Indicates presence of disease only
Biomarker 2 – Potential biomarker of disease
Biomarker 1 (Case)
Biomarker Measurement
Time
No disease
Early-stage disease
Late-stage disease
Biomarker 2 (Case)
Biomarker 1 (Control)
Biomarker 2 (Control)
Biomarker 1 shows no difference without disease – not a useful biomarker

## Slide 38: The importance of causality
Biomarker 1 – Indicates presence of disease only
Biomarker 2 – Potential biomarker of disease
Biomarker 1 (Case)
Biomarker Measurement
Time
No disease
Early-stage disease
Late-stage disease
Biomarker 2 (Case)
Biomarker 1 (Control)
Biomarker 2 (Control)
Biomarker 2 shows a difference without disease – potentially useful biomarker

## Slide 39: The importance of causality
Biomarker 1 – Indicates presence of disease only
Biomarker 2 – Potential biomarker of disease
Biomarker 1 (Case)
Biomarker Measurement
Time
No disease
Early-stage disease
Late-stage disease
Biomarker 2 (Case)
Biomarker 1 (Control)
Biomarker 2 (Control)
Data collected at this point cannot tell which one is good – Using AI won’t fix this

## Slide 40: Metabolomics & AI
So how can AI help metabolomics? And what are the dangers?
To give the talk some structure I have taken the structure from a recent pre-print
Shah et al. (2023)

## Slide 41: LC-MS/MS Metabolomics Flowchart

## Slide 42: LC-MS/MS Metabolomics Flowchart

## Slide 43: Untargeted or targeted acquisition
Untargeted acquisition
  Data Dependent Acquisition (DDA)
  Data Independent Acquisition (DIA)
Hybrid methods
  Combining DDA or DIA with inclusion/exclusion windows
Advanced methods
  A number of methods developed, but aren’t easily usable

## Slide 44: Data Dependent Acquisition (DDA)
The classic DDA method is Top-N
Top-N combines
  MS1 survey scans to observed (and later quantify) peaks
  MS2 fragmentation scans to get metabolite spectra
Use Dynamic Exclusion Windows (DEWs) to stop the repeated fragmentation of the same metabolites
  Basic rule: If you have fragmented at a particular m/z, you cannot fragment again for another 20-30 seconds

## Slide 45: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 46: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Our radar sees nothing, so we do another radar scan next

## Slide 47: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 48: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Our radar sees 2 ships, so we will schedule 2 bombs for our next times.

## Slide 49: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 50: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
We drop a bomb on our first ship – we do not know (in real time) if it hits (it has and sinks)

## Slide 51: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Mass (per unit charge)
Intensity (how much)
Bombing a ship is equivalent to getting a fragmentation spectra for a metabolite
This helps us identify the metabolite

## Slide 52: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 53: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
We drop a bomb on our second ship – we do not know if it hits (it hasn’t, the ship was too small)

## Slide 54: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 55: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 56: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 57: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 58: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 59: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 60: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 61: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 62: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 63: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 64: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 65: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 66: Data Dependent Acquisition (DDA)
I describe it to statisticians as a customised game of battleships…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 67: Data Dependent Acquisition (DDA)
Problems
We miss a large number of peaks
Quality of spectra is often low
Exclusion windows help, but only get us to about 40% metabolites having spectra

## Slide 68: Data Independent Acquisition (DIA)
The classic DIA methods are SWATH and AIF
Both DIA methods combined
  MS1 survey scans to observed (and later quantify) peaks
  MS2 fragmentation scans to get metabolite spectra
    Unlike DDA, these target large portions of the m/z range

## Slide 69: Data Independent Acquisition (DIA)
Back to Battleships…
AIF:
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 70: Data Independent Acquisition (DIA)
Back to Battleships…
AIF:
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Mass (per unit charge)
Intensity (how much)
No idea which metabolite the fragments relate to

## Slide 71: Data Independent Acquisition (DIA)
Back to Battleships…
SWATH:
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 72: Data Independent Acquisition (DIA)
Back to Battleships…
SWATH:
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Mass (per unit charge)
Intensity (how much)
No idea which metabolite the fragments relate to

## Slide 73: Data Independent Acquisition (DIA)
Back to Battleships…
SWATH:
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Mass (per unit charge)
Intensity (how much)
Mass (per unit charge)
Intensity (how much)
No idea which metabolite the fragments relate to
A resolved spectra, but unlikely with more metabolites

## Slide 74: DDA vs DIA
Papers have tried to quantify the relative performance of DDA and DIA
Both show the spectra produced by DIA is extremely poor
But DIA gives a spectra for all metabolites, DDA does not
Wandy et al. (2023)
Guo & Huan (2020)

## Slide 75: Advances in DDA
Recent advances in DDA fall into two categories
  Planned methods
  Real time methods (like Top-N)

## Slide 76: Planning methods
Data semi Dependent Acquisition (DsDA)
MS2Planner
Both methods use previous injections to plan MS2 scans for future injections
Rely on samples being similar and no drift
Both are rarely (ever?) used in practice and would be hard to implement on your own system
Broeckling et al. (2018)
Zuo et al. (2021)

## Slide 77: ViMMS
The most significant advance in real time DDA is through our work, ViMMS
Virtual Metabolomics Mass Spectrometer (ViMMS) is a Digital Twin of a mass spectrometer
Wandy et al. (2019) Wandy et al. (2022)
https://github.com/glasgowcompbio/vimms

## Slide 78: ViMMS
ViMMS allows:
  Offline optimisation
  Offline evaluation
  Offline method development
  Offline method testing
  Real data collection via API bridge*
*API = Application Programming Interface – we can control the real MS in real time

## Slide 79: ViMMS
ViMMS has a virtual MS to simulate experiments

## Slide 80: ViMMS
ViMMS has a virtual MS to simulate experiments
ViMMS can connect to Thermo Fisher Fusion instruments via the API to do real experiments

## Slide 81: ViMMS
ViMMS has a virtual MS to simulate experiments
ViMMS can connect to Thermo Fisher Fusion instruments via the API to do real experiments
Controllers remain consistent across simulation and real environments

## Slide 82: ViMMS Workflow
ViMMS allows us to develop new DDA methods
No development costs in terms of materials or MS time
Unknown
Simulated Results
Optimised
Prototype
Controller
Controller
Simulated Results
Real Results
Controller
Davies et al. (2021)

## Slide 83: ViMMS Workflow
ViMMS allows us to develop new DDA methods
No development costs in terms of materials or MS time
Unknown
Simulated Results
Optimised
Prototype
Controller
Controller
Simulated Results
Real Results
Controller
Davies et al. (2021)

## Slide 84: ViMMS Workflow
ViMMS allows us to develop new DDA methods
No development costs in terms of materials or MS time
Unknown
Simulated Results
Optimised
Prototype
Controller
Controller
Simulated Results
Real Results
Controller
Davies et al. (2021)

## Slide 85: ViMMS Workflow
ViMMS allows us to develop new DDA methods
No development costs in terms of materials or MS time
Unknown
Simulated Results
Optimised
Prototype
Controller
Controller
Simulated Results
Real Results
Controller
Davies et al. (2021)

## Slide 86: SmartROI
SmartROI tracks MS1 ROIs in real time – Peaks (m/z, RT, intensity)
It aims to reduce the amount of times a metabolite is fragmented, allowing peaks to be used in other places
It aims to fragment at the top of peaks

## Slide 87: WeightedDEW
WeightedDEW works similarly to Top-N, but with a more complex
It allows longer DEWs, but can be overridden by larger peaks in case of multiple peaks at the same m/z

## Slide 88: SmartROI & WeightedDEW
We hope (and believe) these methods can help increase the number of metabolites for which we collect spectra for
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 89: Validation using ViMMS
Results show a 50-100% increase depending on the experiment
Can be validated in ViMMS and on an actual MS
Usage difficult due to API and licensing requirements

## Slide 90: TopNEXt
TopNEXt is a framework for multiple sample DDA
The idea is similar to DEWs, but the exclusions are carried across samples
Exclusions are based on how much a current sample peak overlaps with a previously fragmented peak
McBride et al. (2021)

## Slide 91: TopNEXt
McBride et al. (2021)
Improves the quality of spectra with repeated injections of same sample

## Slide 92: TopNEXt
McBride et al. (2021)
Improves the quality and amount of spectra with repeated injections of multiple samples

## Slide 93: TopNEXt with planning
Current extensions of TopNEXt look at combining it with multiple sample planning methods
Idea is based on matching peaks to scans using graph based methods
McBride et al. (In development)

## Slide 94: Advances in DIA
Some methods have been designed which combine DIA with some targeted DDA MS2 scans
Methods have been developed which aim to more strategically place MS2 windows, but deconvolution seems difficult
Kaufmann & Walker (2016)

## Slide 95: Advances in DIA
From a Battleships perspective…
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Splits into 4 regions (in this example). Potentially helps deconvolve spectra, but are there the computational tools to use this information?

## Slide 96: DIA deconvolution
The main challenge in DIA appears to be the deconvolution
Difficult to accurately estimate spectra based on the collected data
  Messy data
  Isotopes and Adducts
  Parallel peaks
  Chimera spectra
  Lack of gold standard data
One of the biggest open challenges for ML/AI
We have attempted it, but with limited success

## Slide 97: Future avenues for AI – DDA-DIA hybrid methods
Combining DDA and DIA into a hybrid method seems like the biggest challenge
Potentially improves deconvolution with the correct deconvolution method
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
DDA Scan
DIA Scan

## Slide 98: Future avenues for AI – MSN methods
Metabolite identification methods could be improved with MS3, MS4, MS5 etc data (MSN data)
DDA type methods would need to be developed to collect this data in an effective manner
Doing this is an intelligent manner is difficult, could AI play a role here?
ViMMS does / used to do MSN simulations, but its not something we ever tried

## Slide 99: Future avenues for AI – Real time peak picking
In DDA methods, including smartROI, weightDEW, and TopNEXt, a large number of scans are wasted
If we can predict whether we are seeing a real metabolite at any give m/z and RT, then we can schedule scans more effectively

## Slide 100: LC-MS/MS Metabolomics Flowchart

## Slide 101: Potential uses for AI?
There doesn’t seem to be a great deal of opportunities for AI here
The most important thing seems to be to make sure Open Access tools keep up with advances in data acquisition techniques
Must ensure all stages of data analysis pipeline keep up with advances to ensure pipelines are useable for all

## Slide 102: LC-MS/MS Metabolomics Flowchart

## Slide 103: PeakOnly
PeakOnly offers an alternative to peak picking methods from MZmine and XCMS
It can be relatively easily integrated into data analysis pipelines
Melnikov et al. (2020)

## Slide 104: PeakOnly
PeakOnly is made up of two Convolutional Neural Networks
Classification CNN – Determines whether it is a peak
Integration CNN – Detecting peak borders and peak separation

## Slide 105: Convolutional Neural Networks
A CNN is a Neural Network with Convolutional Layers
Each images is divided into overlapping boxes
A summary of each box (in terms of an image pixel value) is fed into the next layer

## Slide 106: PeakOnly – Classification CNN
The Classification CNN will take roughly the architecture below
The input is an ROI of length 1x256 (an image with only one row)

## Slide 107: PeakOnly – Classification CNN
The Classification CNN will take roughly the architecture below
The input is an ROI of length 1x256 (an image with only one row)
The output are 3 classes (noise; one or more peaks; uncertain peaks)

## Slide 108: PeakOnly – Integration CNN
The Integration CNN takes the form of a U-Net
The U-Net used manually annotated starts and ends of peaks
It also predict separation

## Slide 109: PeakOnly – Results
The results appear to be pretty good
We have used this for processing within our ViMMS framework and it seemed to give good results
Potential Issues
Based on small amount of hand annotated data
May not generalize to different MS
Does not work well with methods with uneven MS1 scan times (e.g. new ViMMS methods – nor do XCMS / MZmine)

## Slide 110: Peak Alignment
Various methods have proposed more advanced peak alignment methods
Generally, this seems to be done using standard tools, e.g., MZmine
Wang et al. (2019)
Li et al. (2017)
Hao et al. (2023)

## Slide 111: DIA Deconvolution
DIA deconvolution appears to be very unreliable
Our results and other show that the quality of spectra produced is not high
Wandy et al. (2023)
Guo & Huan (2020)

## Slide 112: DIA Deconvolution
New DIA deconvolution methods seem necessary for the effective use of DIA data
Lots of work in proteomics, but good gold standard data is missing in metabolomics
Neural Network based methods are only as good as the data they are given

## Slide 113: DIA Deconvolution
Interesting looking methods (from metabolomics and proteomics)
Alka et al. (2022)
He et al. (2022)
Stancliffe et al. (2021)

## Slide 114: DIA Deconvolution
MSdeconvolve – work is progress…
Our ViMMS framework seemed a good place to test DIA methods
We have designed methods that work effectively in simulation
But are only marginally better than MSdial in real data

## Slide 115: LC-MS/MS Metabolomics Flowchart

## Slide 116: Annotation & Molecular Networking
Big Questions
How do we identify and create networks of metabolites?
Can we trust that these annotations are real?
AI
Probably the area with the most existing use of AI in metabolomics
A lot of database sorting and scoring, which we could also loosely call AI
Most methods rely heavily on databases, but how accurate are the databases?

## Slide 117: Spectral Matching – Spec2Vec
Comparing spectra is commonly done via methods such as Cosine similarly
The measure usually work well for two similar spectra
But they struggle for two more different, but structurally linked spectra
Huber et al. (2021a)

## Slide 118: Spectral Matching – Spec2Vec
Spec2Vec is based on a common technique from Natural Language Processing
They create word embeddings which link groups of words together based on how they are used

## Slide 119: Spectral Matching – Spec2Vec
In the context of spectra, ‘word’ embeddings link related fragmentation spectra
This is partially how ChatGPT understands relationships between similar words
Think about spectral patterns that are the same, but with different base masses

## Slide 120: Spectral Matching – MS2DeepScore
MS2DeepScore extends this by using a Deep Neural Network to create the embeddings
Huber et al. (2021b)

## Slide 121: Spectral Matching – MS2Query
MS2Query makes use of MS2DeepScore and the precursor intensity to search libraries for analogues – non-exact matches with high chemical similarity
De Jong et al. (2023)

## Slide 122: Spectra Prediction
SIRIUS4 and CSI:FingerID provide a way of identifying metabolites from their spectra
My creating fragmentation trees, the observed fragmentation spectra can be explained and linked to potential metabolite structures.
Can these methods be combined with physics (chemistry?) informed ML?
  These approaches are popular in computational biology, engineering, etc
Dührkop et al. (2015)
Dührkop et al. (2019)

## Slide 123: Spectra Prediction
Modern methods have used transformers to similarly attempt to predict spectra from chemicals
Transformers are a key elements of ChatGPT
Impressively this models contains over 400 million trainable parameters
Shrivastava et al. (2021)

## Slide 124: Transformers
Transformers are based on the idea of attention and multi-head attention
The Deep Neural Network learns how words refer to each other
Jay Alammar Blog
Attention
Multi-Head Attention

## Slide 125: Molecular Networking via MS2LDA
Like the spectral matching methods, MS2LDA used word embeddings
Similarly to Netflix type algorithms, it tries to learn patterns that replicate across spectra
MS2LDA then uses these patterns to learn underlying spectral networks
Could transformer architectures be used here?
Could AI based networking approaches also be useful?
van der Hooft et al. (2016)

## Slide 126: Are our annotations correct?
Whether annotations, or even analogues, are correct is one of the biggest challenges in metabolomics
Only around 2.5% of know natural products are on GNPS
Therefore, few spectral matches are ever found

## Slide 127: Are our annotations correct?
Statistical False Discovery Rates (FDR) tell us how often our annotations are likely to incorrect
Estimating them when we only know 2.5% of natural products is difficult though
Could generative AI be useful here?
Scheubert et al. (2017)

## Slide 128: LC-MS/MS Metabolomics Flowchart

## Slide 129: Statistical Analysis
The statistical analysis part of the metabolomics pipeline intuitively seems like the ideal place to implement AI
Lots of pipelines include Random Forests or Gradient Boosting Machines

## Slide 130: Statistical Analysis
The statistical analysis part of the metabolomics pipeline intuitively seems like the ideal place to implement AI
Lots of pipelines include Random Forests or Gradient Boosting Machines
Personally, I am not convinced…
Does identifying 1,000 potential biomarkers in a Random Forest really help? Not much? Maybe I am too harsh…
What is you FDR of these biomarkers? 95%+ ?
Surely a model with 95-100% accuracy is good? Almost always no

## Slide 131: Statistical Analysis
Remember this slide?

## Slide 132: Statistical Analysis
Remember this slide?
If your Random Forest doesn’t give you near 100% accuracy here, then you probably have a coding bug

## Slide 133: Statistical Analysis
Remember this slide?
How would you tell which were the true biomarkers to investigate? Would a t-test not work just as well?
If your Random Forest doesn’t give you near 100% accuracy here, then you probably have a coding bug

## Slide 134: Statistical Analysis
Remember this slide?
If your Random Forest doesn’t give you near 100% accuracy here, then you probably have a coding bug
How would you tell which were the true biomarkers to investigate? Would a t-test not work just as well?
A Deep Neural Network would almost certainly improve accuracy, but is that useful? No

## Slide 135: Statistical Analysis
For me the focus of statistical analysis in metabolomics should be away from AI
Better understanding of causality seems improve
Understanding experimental design and more importantly understanding what your experiment even has the ability to show
Its also important that statistical analysis methods keep up to date with new advances in MS and the data new MS are able to acquire

## Slide 136: Can we combine stages?

## Slide 137: Combined Approaches
Can combining the development of approaches offer an interesting avenue for AI?
AI allows us to process huge amounts of data at the same time
Can improved data acquisition strategies lead to better downstream methods?
Would MSN or DDA-DIA hybrid approaches combined with peak picking and annotation help improve experimental results?

## Slide 138: Conclusions
Metabolomics data is messy, AI can help but it can be dangerous as well
To use AI effectively, we need to collect better data
Or use AI methods that can take chemical processes more accurately into account, e.g., physic informed machine learning style approaches
Pomyen et al. (2020)

## Slide 139: Thanks for Listening
Let me know if you have any questions
Or feel free to reach out at: Vinny.Davies@Glasgow.ac.uk
Slides available at:
https://github.com/vinnydavies/presentations/blob/master/EuroMetabolomics2024_VinnyDavies.pptx