## Slide 1
ViMMS: A framework to develop, test and optimise fragmentation strategies in LC-MS/MS metabolomics
Dr Vinny Davies

## Slide 2
Metabolomics is the "systematic study of the unique chemical fingerprints that specific cellular processes leave behind", the study of their small-molecule metabolite profiles.
Basically, we are trying to identify all the metabolites in a particular sample
What is Metabolomics?

## Slide 3
Metabolomics experiments often rely on data collected through Liquid Chromatograph tandem mass spectrometry experiments (LC-MS/MS)
In a standard experiment these rely on data acquisition approaches such as Data Dependent Acquisition (DDA) and Data Independent Acquisition (DIA)
Little work has been done to optimise and improve these processes
My work is focused around designing new strategies for data acquisition
Data acquisition in LC-MS/MS metabolomics

## Slide 4
Samples can be extremely varied, but standard option is blood, urine, etc – We use beer!
  No data protection issues
  Cheap and easily available
  Similar enough for method development
Metabolomics Mass Spectrometry Experiments

## Slide 5
Samples can be extremely varied, but standard option is blood, urine, etc – We use beer!
  No data protection issues
  Cheap and easily available
  Similar enough for method development
Metabolomics Mass Spectrometry Experiments
Ionisation

## Slide 6
Samples can be extremely varied, but standard option is blood, urine, etc – We use beer!
  No data protection issues
  Cheap and easily available
  Similar enough for method development
Metabolomics Mass Spectrometry Experiments
Mass Spectrometer
Ionisation

## Slide 7
Samples can be extremely varied, but standard option is blood, urine, etc – We use beer!
  No data protection issues
  Cheap and easily available
  Similar enough for method development
Metabolomics Mass Spectrometry Experiments
m/z
Intensity
Mass Spectrometer
Ionisation

## Slide 8
Sample
Sample fraction, collected in small time period
MS
Mass (per charge)
Chromatographic retention time
Chromatographic peaks
retention time
intensity
scans
LC-MS/MS

## Slide 9
MS1 scan
Measures mass (per charge), and intensity (how many copies of the molecule)
Scan also has an associated retention time
mass isn’t enough to identify the molecule
Scan Types – MS1

## Slide 10
Fragmentation: smashing up a molecule
MS
MS2 spectra can be used as a molecular fingerprint to identify molecules
Spectra are compared against a database of spectra for known molecules
Scan Types – MS2

## Slide 11
I like to compare the data acquisition process in LC-MS/MS to a game of Battleships…
My version of battleships varies somewhat from the game
  It’s a hybrid between, real life bombing raids, battleships the game & chemistry
  It will all make sense soon (hopefully!!!)
Data acquisition as a game of Battleships?

## Slide 12
Mass (per charge)
Chromatographic retention time
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
How is this a game of Battleships?

## Slide 13
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
Firstly, all our ships need to be horizontal

## Slide 14
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Our planes all travel horizontally (once – for now)
What are the rules of metabolomics Battleships?!

## Slide 15
What are the rules of metabolomics Battleships?!
Like in battleships, all the ships are hidden
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 16
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 17
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Our radar sees nothing, so we do another radar scan next
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 18
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 19
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Our radar sees 2 ships, so we will schedule 2 bombs for our next times.
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 20
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)
What are the rules of metabolomics Battleships?!

## Slide 21
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
We drop a bomb on our first ship – we do not know (in real time) if it hits (it has and sinks)
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)
What are the rules of metabolomics Battleships?!

## Slide 22
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Mass (per unit charge)
Intensity (how much)
Bombing a ship is equivalent to getting a fragmentation spectra for a metabolite
This helps us identify the metabolite
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 23
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 24
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
We drop a bomb on our second ship – we do not know if it hits (it hasn’t, the ship was too small)
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 25
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 26
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
We completed 2 bomb drops, so we go back to a radar scan.
We see 3 ships and we schedule our next 2 bombs (max 2 bombs dropped per radar scan)
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 27
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 28
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Generally, hitting a ship twice does not help us
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 29
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 30
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 31
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 32
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 33
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 34
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 35
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 36
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 37
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 38
ViMMS is a Virtual Metabolomics Mass Spectrometer
It allows you to simulate full metabolomics LC-MS/MS experiments
  MS1 and MS2 capabilities, with potential for MSN
ViMMS is implemented within Python and is full open source available at https://github.com/glasgowcompbio/vimms
ViMMS
Wandy, J., Davies, V., et al. (2019). In silico optimization of mass spectrometry fragmentation strategies in metabolomics. Metabolites.
Wandy, J., Davies, V., et al. (2022). ViMMS 2.0: A framework to develop, test and optimise fragmentation strategies in LC-MS metabolomics. JOSS.

## Slide 39
ViMMS fully controls scan specifications in real time and allows
Evaluation of existing methods and settings
Develop, evaluate and test new methods
Control MS in real time via an API
Evaluate current tools, e.g. MS-dial
Currently real time control is limited to Thermo Fisher machines with IAPI control
What is the point of ViMMS?

## Slide 40
ViMMS has two environments
  Simulated (blue)
  Real (green)
The virtual MS (Python code) and real MS (an actual instrument) are interchangeable
Controllers (which schedule scans) are identical in both environments
Samples are either real or virtual
How does ViMMS work?

## Slide 41
Take an mzml and construct Regions of Interest (ROIs)
ROIs are converted into ViMMS chemicals
How do the simulations work?

## Slide 42
Timings for MS1 and MS2 scans are taken directly from the mzml
MS2 spectra are fully synthetic, (e.g. we cannot get new real results)
Standard methods such as Top-N are implemented within ViMMS as controllers (these determine scans)
Results are extracted as mzmls and can analysed in terms of perfomance
How do the simulations work?

## Slide 43
The real experiments works in exactly the same way except using a sample rather than simulated ViMMS chemicals
How do the real experiments work?

## Slide 44
Controllers remain consistent across simulated and real experiments
Works through use of Thermo IAPI to control scans in real time (via Python and C# bridging code)
We can use any ViMMS controller on real samples in this manner
How do the real experiments work?

## Slide 45
Optimise existing methods
Develop new single-sample DDA methods
Test / develop multi-sample DDA methods
Compare DDA and DIA
Develop new DIA deconvolution methods (ongoing)
Future plans: there are a lots of options. Suggestions very welcome!
What have we used ViMMS to do?

## Slide 46
A few different DDA methods are currently implemented within ViMMS
We can use the simulated environment to test different parameter settings on a previously collected sample
Advantage: No machine time or sample costs. Optimised performance for next DDA acquisition
Optimising DDA acquisition

## Slide 47
We compared performance of our ViMMS Top-N controller (simulated chemicals) vs machine Top-N (same real sample)
Results show simulations in ViMMS closely match the real performance
Optimising Top-N
Wandy, J., Davies, V., et al. (2019). In silico optimization of mass spectrometry fragmentation strategies in metabolomics. Metabolites.

## Slide 48
We can also develop new methods
We motivated our methods to avoid repeated fragmentation events (e.g. below)
We can then compare them against Top-N
Developing new DDA methods
Davies, V., et al. (2021). Rapid development of improved data-dependent acquisition strategies. Analytical chemistry.

## Slide 49
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Generally, hitting a ship twice does not help us
Problem
Double bombing / fragmenting is a major problem

## Slide 50
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
We could have moved the second bomb to here
Problem
Double bombing / fragmenting is a major problem

## Slide 51
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
We could have moved the second bomb to here
Problem
Double bombing / fragmenting is a major problem

## Slide 52
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Next Problem
Simple solutions become problematic if there are 2 ships together

## Slide 53
Next Problem

## Slide 54
Next Problem

## Slide 55
Top-N Scoring System
After any radar scan the choice of possible places to be bombed can be scored as follows, were
  intensity of peak at time is
  min intensity for bombing / fragmentation is
  Indication of exclusion, where means its excluded
where we bomb / fragment the N highest scoring peaks

## Slide 56
Generic Scoring System
Why not make the scoring system more complex?
A modular scoring system will allows us to add new things
where
are the non-time varying parameters
are the time dependent parameters
is all the data observed until time

## Slide 57
Davies, V., et al. (2021). Rapid development of improved data-dependent acquisition strategies. Analytical chemistry.
WeightedDEW

## Slide 58
Davies, V., et al. (2021). Rapid development of improved data-dependent acquisition strategies. Analytical chemistry.
SmartROI

## Slide 59
ViMMS allowed us to develop and debug these methods before ever using samples or machine time
We then optimised the parameters of the methods to maximise peak coverage (or any other metric you choose)
In-Silico Development in ViMMS

## Slide 60
We then tested them out in different simulated scenarios in ViMMS
Big increase in performance when there are a large number of metabolites (peaks)
In-Silico Validation in ViMMS

## Slide 61
We then tested the methods on real samples (beer and serum)
Results showed a 50%+ increase in performance
Real Experimental Validation
Davies, V., et al. (2021). Rapid development of improved data-dependent acquisition strategies. Analytical chemistry.

## Slide 62
Under the same principles, we can also develop multi-sample DDA methods and test existing ones, e.g. DsDA, MSplanner
What about multi sample DDA methods?

## Slide 63
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
BEFORE the FIRST sample
Let’s take the original example

## Slide 64
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
AFTER the FIRST sample
Use the same simple strategy on the first sample

## Slide 65
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Example: Identical Samples
If samples are the same, we just avoid bombing sunk ships

## Slide 66
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Example: Identical Samples
If samples are the same, we just avoid bombing sunk ships
Put exclusion regions round sunken ships

## Slide 67
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Example: Identical Samples
If samples are the same, we just avoid bombing sunk ships
Put exclusion regions round sunken ships
Then run the same strategy again

## Slide 68
Example: Changing Ships
What happens if the ships change?
Possible strategies:
  Use Top-N again (will bomb sunken ships, but potentially also bomb new ships)
  Use Top-N with exclusions

## Slide 69
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Exclusion regions are still around sunk ships, regardless if they are in this sample
Then run the same strategy again
Example: Different Samples (Top-N Exclusion)

## Slide 70
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
We can hit this ship we missed before
Example: Different Samples (Top-N Exclusion)

## Slide 71
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Example: Different Samples (Top-N Exclusion)

## Slide 72
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
We see a new ship, but its in an excluded region, so we don’t bomb it
This ship isn’t in this convoy / sample anymore, so we have missed it completely
Example: Different Samples (Top-N Exclusion)

## Slide 73
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
We can bomb this new ship
Example: Different Samples (Top-N Exclusion)

## Slide 74
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
It gets sunk
Example: Different Samples (Top-N Exclusion)

## Slide 75
Example: Changing Ships
What happens if the ships change?
Possible strategies:
  Use Top-N again (will bomb sunken ships, but potentially also bomb new ships)
  Use Top-N with exclusions
  Use a pre-scheduling method (works well on identical samples)

## Slide 76
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Example: Different Samples (Pre-Scheduling)
Pre-scheduling takes no notice of radar scans which are included for post processing
There is no excluded regions, but those parts also never get scheduled

## Slide 77
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
We saw this ship in sample 1 and didn’t sink it, so we can bomb it this time
Example: Different Samples (Pre-Scheduling)

## Slide 78
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
We assume this ship is still there and bomb the water…
Example: Different Samples (Pre-Scheduling)

## Slide 79
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
We can’t adjust to new ships, so we just ignore this one…
Example: Different Samples (Pre-Scheduling)

## Slide 80
Example: Changing Ships
What happens if the ships change?
Possible strategies:
  Use Top-N again (will bomb sunken ships, but potentially also bomb new ships)
  Use Top-N with exclusions
  Use a pre-scheduling method (works well on identical samples)
  Design a new method which can adjust on the fly

## Slide 81
TopNEXt is a modular framework for multi-sample acquisition
It scores possible MS2 scans based on previously observed scans in the current and previous samples
TopNEXt: Automated Exclusion
McBride, R., …, Davies, V., … et al. (2023). TopNEXt: Automatic DDA Exclusion Framework for Multi-Sample Mass Spectrometry Experiments. bioRxiv (submitted to Bioinformatics).

## Slide 82
It contains a number of different options and can easily be extended
TopNEXt: Automated Exclusion
McBride, R., …, Davies, V., … et al. (2023). TopNEXt: Automatic DDA Exclusion Framework for Multi-Sample Mass Spectrometry Experiments. bioRxiv (submitted to Bioinformatics).

## Slide 83
Beyond the framework, it also introduces the concept of (non-)overlap
It looks at how much a current ROI (black) overlaps with a previous ROI (blue) and scores it based on how much they overlap
The more it overlaps with a fragmented previous ROI, the lower it will be scored
There is also a version based on the intensity of the previous MS2 scans
Non-Overlap

## Slide 84
Non-Overlap
We can use our generic scoring system combined with a real time overlap calculating, for each fragmented peak
Using this strategy, we ignore peaks we have seen before, but hopefully get new peaks that overlap with old peaks

## Slide 85
Intensity Non-Overlap
We can use our generic scoring system combined with a real time overlap calculating, for each fragmented peak
Where is the maximum fragmentation intensity of peak
We ignore peaks we have seen before unless the intensity we can fragment at is increased
  Can give us better quality fragmentation spectra (more chance of sinking)

## Slide 86
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Example: Different Samples (Non-Overlap)
We believe that Non-Overlap gives us the best of both worlds
Its hard to demonstrate on this example

## Slide 87
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Example: Different Samples (Non-Overlap)
This is what I hope happens in this example…

## Slide 88
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Example: Different Samples (Non-Overlap)
This is what I hope happens in this example…
We still miss the peak that disappeared after the first raid

## Slide 89
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Example: Different Samples (Non-Overlap)
This is what I hope happens in this example…
We still miss the peak that disappeared after the first raid
We can re-fragment new peaks

## Slide 90
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Example: Different Samples (Non-Overlap)
This is what I hope happens in this example…
We still miss the peak that disappeared after the first raid
We can re-fragment new peaks
We can re-fragment old peaks with Intensity Non-Overlap

## Slide 91
TopNEXt: Automated Exclusion

## Slide 92
TopNEXt: Automated Exclusion

## Slide 93
We can similarly implement DIA in ViMMS (and eventually TopNEXt)
What about DIA?

## Slide 94
We have implemented SWATH and AIF within ViMMS
Compared them against DDA
DIA vs DDA

## Slide 95
We can construct our own DIA methods or even hybrid DDA-DIA methods
Limitation appears to be the deconvolution
  Generally inflexible
  Low accuracy
  Overly correlated predicted spectra
ViMMS allows us to properly evaluate deconvolution and we have began designing our own method
  I see this as the immediate application of ViMMS
Bottleneck of DIA?
Wandy, J., ... & Davies, V. (2023). Simulated-to-real Benchmarking of Acquisition Methods in Untargeted Metabolomics. Frontiers in Molecular Biosciences.

## Slide 96
Big thank you to all my collaborators:
  University of Glasgow: Joe Wandy, Rónán Daly, Simon Rogers, Ross McBride, Kevin Bryson, Stefan Weidt, Nikolaos Terzis, Alice Miller
  Wageningen University: Justin J.J. van der Hooft
Ideas for ViMMS or any further questions
  Email: vinny.davies@glasgow.ac.uk
  Twitter: vinny_davies89
Slides available at:
  https://github.com/vinnydavies/presentations
Any questions?