## Slide 1
ViMMS: Improved Real-Time Data Acquisition Methods for Metabolomics LC-MS/MS Experiments
Dr Vinny Davies, University of Glasgow

## Slide 2
Metabolomics Workflow
Sample + Sample Preparation

## Slide 3
Metabolomics Workflow
Sample + Sample Preparation
Data Collection

## Slide 4
Metabolomics Workflow
Sample + Sample Preparation
Data Collection
Data Processing

## Slide 5
Metabolomics Workflow
Sample + Sample Preparation
Data Collection
Data Processing
Statistical Analysis
Metabolite Identification
Molecular Networking

## Slide 6
Metabolomics Workflow
Sample + Sample Preparation
Data Collection
Data Processing
Statistical Analysis
Metabolite Identification
Molecular Networking

## Slide 7
Samples can be extremely varied, but standard option is blood, urine, etc – We use beer!
  No data protection issues
  Cheap and easily available
  Similar enough for method development
Aim to optimise how we identify metabolites
Often we do not collect all the information needed for downstream analyses
Metabolomics Mass Spectrometry Experiments
Metabolite Identification

## Slide 8
There are two main types of scan in LC-MS/MS (DDA)
We switch between these scans to collect data
MS1 Scans
  Identify the presence of metabolite
  Quantify the about of metabolite in the sample
MS2 scans
  Collect individual metabolite spectra
  Allows metabolite identification
I like to treat it like a game of Battleships…
Scan Types
m/z
Intensity

## Slide 9
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 10
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Our radar sees nothing, so we do another radar scan next
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 11
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 12
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Our radar sees 2 ships, so we will schedule 2 bombs for our next times.
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 13
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)
What are the rules of metabolomics Battleships?!

## Slide 14
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
We drop a bomb on our first ship – we do not know (in real time) if it hits (it has and sinks)
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)
What are the rules of metabolomics Battleships?!

## Slide 15
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Mass (per unit charge)
Intensity (how much)
Bombing a ship is equivalent to getting a fragmentation spectra for a metabolite
This helps us identify the metabolite
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 16
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 17
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
We drop a bomb on our second ship – we do not know if it hits (it hasn’t, the ship was too small)
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 18
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 19
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
We completed 2 bomb drops, so we go back to a radar scan.
We see 3 ships and we schedule our next 2 bombs (max 2 bombs dropped per radar scan)
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 20
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 21
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Generally, hitting a ship twice does not help us
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 22
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 23
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 24
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 25
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 26
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 27
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 28
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 29
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 30
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
What are the rules of metabolomics Battleships?!
We can mix radar scans (MS1 scans) with dropping a single bomb (MS2 scan)

## Slide 31
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
Traditional methods struggle to optimally place the MS2 Scans ( )
Optimising Scans

## Slide 32
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 
ViMMS provides a way of designing methods to intelligently schedule scans
The Aims of ViMMS
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A |  |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  | 
E |  |  |  |  |  |  |  |  |  | 
F |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  | 
I |  |  |  |  |  |  |  |  |  | 
J |  |  |  |  |  |  |  |  |  | 

## Slide 33
ViMMS is essentially a mass spectrometer simulator
ViMMS – A Mass Spectrometer Digital Twin

## Slide 34
ViMMS fully controls scan specifications in real time
Crucially, experiments can be run via computer simulations rather than on a real MS
Some Applications of ViMMS
  Evaluation of existing methods and settings
  Develop, evaluate and test new methods
  Control MS in real time via an API
  Evaluate current tools
What is the point of ViMMS?

## Slide 35
ViMMS has two environments
  Simulated (blue)
  Real (green)
How does ViMMS work?

## Slide 36
Construct peaks from previously observed data
Take average scan timings from previous data
How do the simulations work?

## Slide 37
The real experiments works in exactly the same way except using a sample rather than simulated ViMMS chemicals
How do the real experiments work?

## Slide 38
Controllers score different scan options
Advanced controllers can be developed and tested using the ViMMS framework
Controllers remain consistent across simulated and real experiments
Controlling the Scans

## Slide 39
The simulator uses the virtual mass spectrometer digital twin
The Mass Spectrometer

## Slide 40
The real mass spectrometer is used for the real experiments
The controller code is linked to the real mass spec via C# bridging code
Crucially:
The controllers remain the same
The bridging code is the same for all methods
The Mass Spectrometer

## Slide 41
Optimising DDA acquisition
Prototype
Controller
Simulated Results
We can use a strategy that combines simulated and real experiments to design methods giving big development cost benefits

## Slide 42
Optimising DDA acquisition
Prototype
Controller
Simulated Results
Controller
We can use a strategy that combines simulated and real experiments to design methods giving big development cost benefits

## Slide 43
Optimising DDA acquisition
Unknown
Simulated Results
Prototype
Controller
Simulated Results
Controller
We can use a strategy that combines simulated and real experiments to design methods giving big development cost benefits

## Slide 44
Optimising DDA acquisition
Unknown
Simulated Results
Optimised
Prototype
Controller
Simulated Results
Controller
We can use a strategy that combines simulated and real experiments to design methods giving big development cost benefits

## Slide 45
Optimising DDA acquisition
Unknown
Simulated Results
Optimised
Prototype
Controller
Controller
Simulated Results
Controller
We can use a strategy that combines simulated and real experiments to design methods giving big development cost benefits

## Slide 46
Optimising DDA acquisition
Unknown
Simulated Results
Optimised
Prototype
Controller
Controller
Simulated Results
Real Results
Controller
We can use a strategy that combines simulated and real experiments to design methods giving big development cost benefits

## Slide 47
Our New Methods (Controllers)

## Slide 48
We see an almost 50% improvement in results
Real Experimental Validation

## Slide 49
New Methods for Multiple Samples
We can similarly extend the concept to more advanced controllers, although the improvement is less drastic

## Slide 50: Thanks for Listening
Let me know if you have any questions
Or feel free to reach out at: Vinny.Davies@Glasgow.ac.uk
Slides available at:
https://github.com/vinnydavies/presentations